## Slide 1
TECAR Pro
Transfer of
Energy
Capacitive
And
Resistive
Endogenous Thermo Therapy

## Slide 2
Therapy
Protocol
Volume | Brightness | Start-up
Endogenous Thermo Therapy
TECAR Pro

## Slide 3
Therapy
Protocol
CAP | RES |  |  | 
 | On Sec Off Sec |  |  | 
1 MHz | 580KHz | 460KHz | 340KHz | Scan
Dermis | Muscles | Joints & Bones | Joints & Bones | Scan
Endogenous Thermo Therapy

## Slide 4
Therapy
Protocol
CAP RES |  |  |  | 
 | On Sec Off Sec |  |  | 
HZ | 580KHz | Energy | 90 VA | Time
HZ |  |  |  | 
Endogenous Thermo Therapy

## Slide 5
Therapy
Protocol
CAP RES |  |  |  | 
 | On Sec Off Sec |  |  | 
HZ | 580KHz | Energy | 20 VA | Time
HZ |  |  |  | 
Endogenous Thermo Therapy

## Slide 6
Therapy
Protocol
CAP RES |  |  |  | 
 | On Sec Off Sec |  |  | 
HZ | 580KHz | Energy | 20 VA | Time
HZ |  |  |  | 
Endogenous Thermo Therapy

## Slide 7
  Cervical Spine
  Shoulder
  Elbow
  Wrist
  Low Back – Lumbar Spine
  Hamstring – Muscular
  Ankle
  TMJ
  Hip
  Knee
  Foot
  Aesthetic
Endogenous Thermo Therapy